## Test Cases
Test ID | Test case | Objective | Expected result | Actual / measured value | Pass / Fail | Tested by | Date
TC-01 | Power-On and Connection | Confirm the unit powers on, the firmware boots, and the GUI connects successfully. | The status bar shows the instrument connected, state idle, and no faults.
TC-02 | Continuity Test (Mode 1) | Confirm the continuity test passes a known-good harness and flags an intentional open and short. | Known-good: all nets pass. Intentional open: affected net reported missing (F06). Intentional short: affected net reported unexpected (F07).
TC-03 | Resistance Test (Mode 1) | Confirm an accurate measurement for a wire of known resistance, and that an out-of-limit wire is flagged. | The known-resistance reference measures within the stated accuracy. The out-of-limit wire is reported fail_high.
TC-04 | Fixture Handover | Confirm HV testing is gated behind a passing Mode 1 and an explicit fixture move. | The insulation test is refused until the move is confirmed in the GUI, and unlocks once confirmed.
TC-05 | Insulation Test (Mode 2) | Confirm the insulation test arms, applies HV, measures leakage and returns to a safe state, for a passing and a failing net. | Known-good: all nets pass, the HV rail returns to 0 V, "Safe" is shown. Fault variant: the affected net fails and the system still returns to safe.
TC-06 | Abort | Confirm Abort stops a running test immediately and returns the system to a safe state. | The run stops immediately, no further results stream in, and the system reports idle/safe.
TC-07 | Fault Handling | Confirm a fault is reported clearly and can be cleared. | The fault is displayed with a description while active; clearing it returns the system to idle.
TC-08 | Results Export | Confirm a completed run's results can be exported. | A CSV file is produced containing that run's results.

## Unit and session
Unit serial number
Firmware (commit / version) | fw 0.1.0 - commit 89c4ebe (see 4_GUI_and_Firmware/Firmware/FIRMWARE_INFO.txt)
GUI build (stamp shown in the footer)
Reference harness ID
Reference netlist file
Operator
Date
Location

## Deviations
Test ID | Deviation observed | Resolution

## Overall verdict
Every test case passed?
Overall verdict (Accepted / Not accepted)
Signed off by
Date